## Slide 1
Is your process out of control ?
Types of systematic error
Frequency
Mean
Frequency
Mean
shift in the spread
shift in the mean
shift in the mean and the spread
ShewhartChart | 1
This resource was downloaded from https://rsc.li/32MW3Gd
Notes: <number>

## Slide 2
Shewhart Control Charts
Objectives of charts: - to help bring processes "in control"
- to help keep processes "in control"
Risks of charts:
- that a legitimate extreme sample will give an action decision when no change has occurred in the process
- that a sample will fall within the control limits although there has been a real change in the process
Design of chart: - Action lines at 3.0 standard errors
- Warning lines at 2.0 standard errors
ShewhartChart | 2
This resource was downloaded from https://rsc.li/32MW3Gd
Notes: <number>

## Slide 3
Shewhart Charts - Set-up Phase
3
2
Mean
Time
Upper action limit
Upper warning limit
Lower warning limit
Lower action limit
1/1000 chance of being outside
1/40 chance of being outside
1/40 x 1/40 = 1/1600 chance of two being outside
Individual data
distribution
Sample means
distribution
Standard deviation
Upper action limit
Upper warning limit
Lower warning limit
Lower action limit
Control Limit Limits Using σ (not σe)
Lower action D0.999 σ
Lower warning D0.975 σ
Upper warning D0.025 σ
Upper action D0.001 σ
ShewhartChart |3
Notes: <number>

## Slide 4
Rules for Interpreting Charts
Evidence that an assignable cause of variation is present :
1. When one point is outside the action limits
2. When two successive points are outside the same warning limit
3. When seven successive points are on one side of the mean (careful)
4. When seven successive points are either increasing or decreasing (careful)
ShewhartChart | 8
This resource was downloaded from https://rsc.li/32MW3Gd
Notes: <number>

## Slide 5
Shift in Process Mean
MEAN CHART
Standard Deviation CHART
Process Change
UAL
UWL
LWL
LAL
UAL
UWL
0
5
10
15
20
ShewhartChart | 5
This resource was downloaded from https://rsc.li/32MW3Gd
Notes: <number>

## Slide 6
Drift in Process Mean
MEAN CHART
Standard Deviation CHART
Process Change
UAL
UWL
LWL
LAL
UAL
UWL
0
5
10
15
20
ShewhartChart | 6
This resource was downloaded from https://rsc.li/32MW3Gd
Notes: <number>

## Slide 7
Drift in Standard Deviation
MEAN CHART
Standard Deviation CHART
Process Change
UAL
UWL
LWL
LAL
UAL
UWL
0
5
10
15
20
ShewhartChart | 7
This resource was downloaded from https://rsc.li/32MW3Gd
Notes: <number>